## Slide 1: NETWORK Virtualization
Notes: Module – 5
Virtualized Data Center – Networking

## Slide 2: Objectives
  Describe network virtualization in VDC
  Describe VDC network infrastructure and components
  Describe Virtual LAN (VLAN) and Virtual SAN (VSAN) and their benefits
  Describe the key network traffic management techniques in VDC
Notes:   This module focuses on networking in VDC environment. It covers network virtualization in VDC, VDC network infrastructure and components, virtual LAN, and virtual SAN. It also describes the key network traffic management techniques.

## Slide 3: Network Virtualization
It is a process of logically segmenting or grouping physical network(s) and making them operate as single or multiple independent network(s) called “Virtual Network(s)”.
Network Virtualization
Enables virtual networks to share network resources
Allows communication between nodes in a virtual network without routing of frames
Enforces routing for communication between virtual networks
Restricts management traffic, including ‘Network Broadcast’, from propagating to other virtual network
Enables functional grouping of nodes in a virtual network
Notes:   Network virtualization involves logically segmenting or grouping physical network(s) into discrete logical entities called “virtual network(s)”, and making them behave as single or multiple independent network(s). Network virtualization allows multiple virtual networks to share network resources without leaking information among them.
  A virtual network appears as a physical network to the nodes connected to it. Two nodes connected to a virtual network can communicate among themselves without routing of frames, even if they are in different physical networks. Network traffic must be routed when two nodes in different virtual networks are communicating, even if they are connected to the same physical network. Network management traffic, including ‘network broadcast’ within a virtual network, does not propagate to any other nodes that belong to a different virtual network. This enables functional grouping of nodes with a common set of requirements in a virtual network, regardless of the geographic location of the nodes.

## Slide 4: Network Virtualization in VDC
Involves virtualizing physical and VM networks
PNIC – Physical NIC
Storage Array
Physical Network
Client
Physical Server
PNIC
Physical Server
PNIC
Hypervisor
Hypervisor
Consists of following physical components:
  Network adapters, switches, routers, bridges, repeaters, and hubs
Provides connectivity
  Among physical servers running hypervisor
  Between physical servers and clients
  Between physical servers and storage systems
Physical Network
Notes: In VDC, network virtualization involves virtualization of both physical and ‘Virtual Machine (VM)’ networks.
The physical network may consist of network adapters, switches, routers, bridges, repeaters, and hubs.
The physical network provides connectivity:
Among physical servers running hypervisor
Between physical servers and clients
Between physical servers and storage systems

## Slide 5: Network Virtualization in VDC (contd.)
PNIC – Physical NIC
VNIC – Virtual NIC
Storage Array
Physical Network
Client
VNIC
Physical Server
PNIC
VNIC
VNIC
Hypervisor Kernel
VM Network
VNIC
Physical Server
PNIC
VNIC
VNIC
Hypervisor Kernel
VM Network
Resides inside physical server
Consists of logical switches called “virtual switches”
Provides connectivity among VMs inside a physical server
Provides connectivity to Hypervisor kernel
Connects to physical network
VM Network
Notes: A VM network resides inside a physical server. It includes logical switches, called ‘virtual switches’, which function similar to physical switches. The VM network enables communication among VMs within a physical server. For example, a VM which is running a business application may need to filter its traffic via a firewall server which could be another VM within the same physical server. It is beneficial to connect these VMs internally through the VM network. Connecting them through a physical network will add more delay to the VM traffic because it travels over the external physical network.
Hypervisor kernels are connected to the VM network. Hypervisor kernels communicate with the management server and storage systems using the VM network. The management server could be a VM hosted in a physical server.
For communication between two VMs residing in different physical servers and between a VM and its clients, the VM traffic must travel through both the VM and physical networks. Hypervisor traffic is also required to transfer between the VM and physical networks. Hence, the VM network must be connected to the physical network.

## Slide 6: Network Virtualization in VDC (contd.)
VM and physical networks are virtualized to create virtual networks; for example: virtual LAN, virtual SAN
PNIC
Virtual Network 2
Virtual Network 1
Physical Switch
Virtual Switch
VNIC
PNIC
PNIC
PNIC
VNIC
Physical Switch
VNIC
VNIC
VM3
VM4
VM1
VM2
Virtual Switch
Notes: Network virtualization allows an administrator to create multiple virtual networks in VDC. These virtual networks may span across both VM and physical networks and share physical and virtual switches. A virtual network provides grouping of all the nodes that belong to the same functional unit in an organization. Virtual LAN and virtual SAN are examples of virtual networks.
In the figure shown on this slide, two virtual networks are created on both virtual and physical switches. Virtual network 1 provides connectivity to VM1 and VM3 and enables communication between them without routing of frames. Similarly, VM2 and VM4 belong to virtual network 2 and are allowed to communicate without routing.

## Slide 7: Network Virtualization Tools
Physical switch Operating System (OS)
  OS must have network virtualization functionality
Hypervisor
  Uses built-in networking and network virtualization functionalities
    To create virtual switch and configuring virtual networks on it
  Or, uses third-party software for providing networking and network virtualization functionalities
    Third-party software is installed onto the hypervisor
    Third-party software replaces the native networking functionality of the hypervisor
Notes: Network virtualization is performed by hypervisor and physical switch Operating System (OS). These types of software allow an administrator to create virtual networks on physical and VM networks.
A physical switch runs an Operating System which performs network traffic switching. The Operating System must have network virtualization functionality to create virtual networks on the switch. Hypervisor has built-in networking and network virtualization functionalities. These functionalities can be leveraged to create a virtual switch and configure virtual networks on it. These functionalities are also provided by third-party software, which may be installed onto the hypervisor. Then, the third-party software module replaces the native networking functionality of the hypervisor.

## Slide 8: Benefits of Network Virtualization
Benefit | Description
Enhances security | Restricts access to nodes in a virtual network from another virtual network Isolates sensitive data from one virtual network to another
Enhances performance | Restricts network broadcast and improves virtual network performance
Improves manageability | Allows configuring virtual networks from a centralized management workstation using management software Eases grouping and regrouping of nodes
Improves utilization and reduces CAPEX | Enables multiple virtual networks to share the same physical network, which improves utilization of network resource Reduces the requirement to setup separate physical networks for different node groups
Notes: Network virtualization provides enhanced security by restricting access to nodes located within a virtual network from another virtual network. Therefore, sensitive data of one virtual network is isolated from other virtual networks.
Network broadcasts within a virtual network are not allowed to propagate to other virtual networks. Restricting broadcast preserves network bandwidth, which consequently improves virtual network performance for usual network traffic.
Virtual network allows grouping of nodes based on an organization’s requirement. When new requirements come, an administrator changes the virtual network configuration using a management software and regroups nodes. The management software provides an interface to configure virtual networks from a centralized management workstation. The interface enables an administrator to send configuration commands to physical switch OS and/or hypervisor. As regrouping of nodes does not require re-cabling or physical movement of equipments, network management becomes easy.
Network virtualization allows multiple virtual networks to share the same physical network. This improves utilization of network resources. Network virtualization also cuts down the capital expenditure (CAPEX) in procuring network equipments for different node groups.

## Slide 9: Components of VDC Network Infrastructure
VDC network infrastructure includes both virtual and physical network components
  Components are connected to each other to enable network traffic flow
Component | Description
Virtual NIC | Connects VMs to the VM network Sends/receives VM traffic to/from VM network
Virtual HBA | Enables a VM to access FC RDM disk/LUN assigned to the VM
Virtual switch | Is an Ethernet switch that forms VM network Provides connection to virtual NICs and forwards VM traffic Provides connection to hypervisor kernel and directs hypervisor traffic: management, storage, VM migration
Physical adapter: NIC, HBA, CNA | Connects physical servers to physical network Forwards VM and hypervisor traffic to/from physical network
Physical switch, router | Forms physical network that supports Ethernet/FC/iSCSI/FCoE Provides connections among physical servers, between physical servers and storage systems, and between physical servers and clients
Notes: Similar to Classic Data Center (CDC) networking, there are basic building blocks to perform networking in a VDC. A VDC network infrastructure consists of both physical and virtual components, as listed on this slide. These components are connected to each other to enable network traffic flow.
Network components such as virtual NIC, virtual HBA, and virtual switch are created inside a physical server using hypervisor. Virtual NICs enable VMs to connect to VM network. They send and receive VM traffic to and from the VM network. Virtual HBA enables a VM to access FC RDM disk/LUN assigned to the VM.
Virtual switches form VM networks and support the Ethernet protocol. They provide connection to the virtual NICs and forward the VM traffic. They also direct management, storage, and VM migration traffic to/from hypervisor kernel.
Physical adapters, such as Network Interface Card (NIC), Host Bus Adapter (HBA), and Converged Network Adapter (CNA), allow physical servers to connect to physical network. They forward VM and hypervisor traffic to/from a physical network.
A physical network includes physical switches and routers. Physical switches and routers provide connections among physical servers, between physical servers and storage systems, and between physical servers and clients. Depending on the network technology and protocol supported, these switches direct Ethernet, FC, iSCSI, or FCoE traffics.
Note: VM migration enables moving a VM from one physical server to another, and is controlled from management server. If a resource crunch occurs at a physical server, VMs are migrated to another physical server, which has sufficient resource to run these VMs. VM migration is discussed in module 7, Business Continuity in VDC.

## Slide 10: Network Connectivity and Traffic Flow: Example 1
Physical server
Virtual Switch
(Ethernet)
PNIC
NAS/iSCSI Storage Array
Hypervisor Kernel
VM1
VM2
VM3
VNIC
VNIC
VNIC
Physical Switch
(Ethernet)
Traffic type:
VM
Management
IP storage
VM migration
Traffic type:
Management
IP storage
VM migration
Traffic type:
VM
Clients
Physical Servers
Notes: The connectivity among VDC network components varies based on the type of protocol and the physical adapter used to enable physical server access to the storage system.
In this example, physical servers are connected to the IP storage system, such as a NAS or an iSCSI storage array. A physical Ethernet switch is used to connect physical servers and the storage system.
Each physical server hosts multiple VMs that are connected to a virtual switch. Each VM has at least one virtual NIC which transfers/receives VM I/Os in the form of Ethernet frames. These Ethernet frames travel through virtual and/or physical switches before reaching their destination (Clients and any other VMs residing in other physical servers.)
Hypervisor kernel is also connected to the virtual switch. Hypervisor kernel leverages the virtual and physical switches to send the IP storage, management, and VM migration traffic.
A physical server has one or more physical NICs (one NIC in this example). NICs provide a link between the virtual and physical switches and forwards VM and hypervisor kernel traffic between the switches.

## Slide 11: Network Connectivity and Traffic Flow: Example 2
Physical server
Virtual Switch
(Ethernet)
FC/iSCSI Storage Array
VM1
VM3
VNIC
VNIC
FC / iSCSI HBA
Physical Switch
(FC/Ethernet)
PNIC
VM2
VNIC
Hypervisor Kernel
Physical Switch
(Ethernet)
Traffic type:
VM Management
VM migration
Traffic type:
FC or iSCSI storage
Traffic type:
Management
VM migration
Traffic type:
VM
Clients
Physical Servers
Notes: The connectivity shown on this slide is similar to the previous example. However, in this case, the hypervisor kernel uses an FC or iSCSI HBA to access FC or iSCSI storage array. A hypervisor kernel is directly connected to the HBA. The HBA sends or receives storage traffic via an FC or Ethernet switch (This could be the same physical Ethernet switch that is connected to the virtual switch).
A hypervisor kernel still uses the virtual switch to send/receive management and VM migration traffic.

## Slide 12: Network Connectivity and Traffic Flow: Example 3
Physical server
Virtual Switch
(Ethernet)
CNA
NAS/FC/iSCSI Storage Array
VM1
VM3
VNIC
VNIC
Hypervisor Kernel
VM2
VNIC
Physical Switch
(FCoE)
Traffic type:
VM
Management
FC/IP storage
VM migration
Traffic type:
VM
Traffic type:
IP storage
Management
VM migration
Traffic type:
FC storage
Clients
Physical Servers
Notes: In this scenario, a physical server uses a CNA card instead of separate HBA and NIC. The CNA card provides the connection between a virtual switch and a physical FCoE switch. CNA has the capability to converge both FC and Ethernet traffic over an Ethernet connection. This allows hypervisor kernel to access FC and IP storage system using a single network adapter.
Hypervisor kernel recognizes CNA as an NIC and an FC HBA. To access FC storage, hypervisor kernel directly sends storage traffic to CNA. To access the IP storage or to forward management and VM migration traffic, the hypervisor kernel sends traffic through the virtual switch.

## Slide 13: Virtual Network Component: Virtual Switch
Is a logical OSI layer 2 switch that supports Ethernet protocol
Resides inside a physical server
Is created and configured using hypervisor
Maintains MAC address table for frame forwarding
Directs network traffic to/from VMs and hypervisor kernel
  VM to VM within physical server
  VM to physical network
  Hypervisor kernel: IP storage, VM migration, and management
Notes: A virtual switch is a logical layer 2 (OSI model) Ethernet switch that resides inside a physical server that uses a hypervisor. Virtual switches are created and configured using hypervisor.
Virtual switches provide traffic management for VMs and hypervisor kernel. Each virtual switch maintains a MAC address table, which includes a list of MAC addresses and corresponding virtual switch ports for frame forwarding. The virtual switch forwards frames to a virtual switch port based on the destination MAC address of the frame.
Virtual switches enable communication among VMs within a physical server and direct VM traffic to a physical network. Switching of VM traffic to physical network allows VMs to communicate with their clients or with VMs hosted on another physical server. A virtual switch also handles the hypervisor kernel traffic so as to enable the management server access the physical server, hypervisor kernel access the IP storage, and migrate VMs from one physical server to another.

## Slide 14: Virtual Network Component: Virtual Switch (contd.)
May connect to multiple physical NICs
  Connection to multiple NICs performs load balancing and failover
VM3
VNIC
PNIC
PNIC
PNIC
VM2
VNIC
Physical Switch
Hypervisor Kernel
Virtual Switch
Physical Server
Load balancing and failover
VM1
VNIC
Notes: A virtual switch may be connected to one or more physical NICs. If a virtual switch is connected to more than one physical NIC, it allows the virtual switch to distribute outbound traffic across multiple physical NICs. Some of the physical NICs may be configured as standby. In the event of an active physical NIC hardware failure or its network link outage, virtual switches failover the traffic to a standby physical NIC.
A virtual switch has no control over the inbound traffic. The load balancing and failover of inbound traffic is performed by supported physical switches that are connected to the virtual switch via physical NICs.

## Slide 15: Virtual Network Component: Virtual Switch (contd.)
May have no connection to any physical NIC
  If virtual switch has no connection to physical NIC, it directs VM traffic within the physical server
VM1
VM2
VNIC
VNIC
Virtual Switch 1
VM with Firewall Application
PNIC
VNIC
Physical Switch
Hypervisor Kernel
Virtual Switch 2
Physical Server
Notes: Virtual switches can also be created without a connection to any physical NIC. In this case, all VMs that are connected to that virtual switch will only be able to send traffic among themselves locally; for example, a virtual switch connects a VM running firewall application to another VM protected by the firewall.

## Slide 16: Virtual Network Component: Virtual Switch (contd.)
No direct connection between virtual switches
Frames may be transferred between virtual switches via a VM
Physical NICs are not shared between virtual switches
Notes: There is no direct connection between virtual switches within a compute system. However, frames may be transferred between virtual switches through VMs. Physical NICs provide links for virtual switches to connect to the physical network. Hence, they are not shared between virtual switches.

## Slide 17: Physical Network Component: NIC
Physical NICs are used as inter-switch-links between virtual and physical Ethernet switches
  Transfer VM and hypervisor kernel traffic
Physical NICs are not addressable from network
  IP address not assigned (prohibits OSI layer 3 access)
  MAC addresses not available (prohibits OSI layer 2 access)
Virtual NIC and hypervisor kernel are addressable from network
  Have their own MAC and IP addresses
    Are used as source address in Ethernet frames
Ethernet frames are transferred through physical NICs without modification
Notes: A physical NIC provides an inter-switch-link between a virtual switch and a physical Ethernet switch. It is used to transfer VM and hypervisor kernel traffic between the VM and physical networks. It is called a link because it is not addressable from the network. Physical NICs are neither assigned an IP address (for OSI layer 3 access), nor are their built-in MAC addresses (for OSI layer 2 access) available to VMs or physical servers on the network.
Virtual NICs and hypervisor kernel are addressable from a network. A virtual NIC adds its MAC and IP addresses as source addresses to the Ethernet frames it transfers. Similarly, hypervisor inserts its own MAC and IP addresses before sending an Ethernet frame to a virtual switch. These Ethernet frames are transferred without modification through physical NICs.

## Slide 18: Physical Network Component: HBA and CNA
Type of Adapter | Description
iSCSI HBA | Transfers hypervisor storage I/Os (SCSI I/Os) to iSCSI storage systems Has built-in iSCSI initiator Encapsulates SCSI I/O into iSCSI frames and then encapsulates iSCSI frames into Ethernet frames Uses its own MAC and IP addresses for transmission of Ethernet frames over the Ethernet network Offloads iSCSI processing (SCSI to iSCSI) from hypervisor
FC HBA | Transfers hypervisor storage I/Os (SCSI I/Os) to FC storage systems Encapsulates SCSI data into FC frame Uses its own FC address for transmission of frames over FC network
CNA | Hypervisor recognizes as an FC HBA and as an NIC NIC : Used as a link between virtual and physical switches FC HBA : Provides hypervisor access to the FC storage
Notes: An iSCSI HBA transfers hypervisor storage I/Os (SCSI I/O) to iSCSI storage systems. iSCSI HBA has a built-in iSCSI initiator. The iSCSI initiator encapsulates SCSI I/O into iSCSI frames. Then, iSCSI HBA encapsulates iSCSI frames into Ethernet frames before sending them to iSCSI storage systems over the Ethernet network. Unlike physical NIC, iSCSI HBA inserts its own MAC and IP addresses into the Ethernet frames.
Hypervisor kernel has a built-in software iSCSI initiator. This software initiator is used to perform iSCSI processing when hypervisor accesses the iSCSI storage via physical NICs. If iSCSI HBAs are used instead of physical NICs to access iSCSI storage, the iSCSI processing is offloaded from the hypervisor kernel.
An FC HBA transfers hypervisor storage I/Os (SCSI I/O) to FC storage systems. Similar to an iSCSI HBA, an FC HBA has SCSI to FC processing capability. It encapsulates hypervisor storage I/Os into FC frames before sending the frames to FC storage systems over the FC network. FC HBA has its own WWN and FC addresses. The FC address is added as the source address to each FC frame.
A Converged Network Adapter (CNA) is a single physical network adapter; although, to the hypervisor, it is recognized as an FC HBA and as an NIC. Therefore, a CNA provides the link between virtual and physical switches and also provides hypervisor access to the FC storage.

## Slide 19: Virtual Local Area Network (VLAN)
A logical network, created on a LAN or across LANs consisting of physical and virtual switches, enabling communication among a group of nodes, regardless of their location in the network.
VLAN
Controls broadcast activity and improves network performance
Simplifies management
Increases security levels
Provides higher utilization of switch and reduces CAPEX
Benefit
Notes: A VLAN is a logical network created on a LAN or across multiple LANs consisting of virtual and/or physical switches. The VLAN technology can divide a large LAN into smaller virtual LANs or combine separate LANs into one or more virtual LANs. A VLAN enables communication among a group of nodes based on functional requirements of an organization, independent of the nodes location in the network. All nodes in a VLAN may be connected to a single LAN or distributed across multiple LANs. The benefits of a VLAN are as follows:
Broadcast traffic within the VLAN is restricted from propagating to another VLAN. For example, a node receives all broadcast frames within its associated VLAN, but not from other VLANs. Hence, the term VLAN is often used to convey a broadcast domain. Restricting broadcast using VLAN frees bandwidth for user traffic, which, thereby improves performance for the usual VLAN traffic.
VLANs facilitate easy, flexible, and less expensive way to manage networks. VLANs are created using software. Therefore, they can be configured easily and quickly compared to building separate physical LANs for various communication groups. If it is required to regroup nodes, an administrator simply changes the VLAN configurations without moving nodes and re-cabling.
VLANs also provide enhanced security by isolating sensitive data of one VLAN from any other VLANs. Restrictions may be imposed at the OSI layer 3 routing device to prevent inter VLAN routing.
Since a physical LAN switch can be shared by multiple VLANs, the utilization of the switch increases. It reduces capital expenditure (CAPEX) in procuring network equipments for different node groups.

## Slide 20: Configuring VLAN
Define VLAN IDs on physical switch
  Each VLAN is identified by a unique number: VLAN ID
Choose necessary VLAN IDs from hypervisor’s built-in VLAN ID pool
  Required for virtual switches
Assign VLAN ID to physical and virtual switch ports
  To include switch ports to a VLAN
  To enable grouping of switch ports into VLANs
Notes: To create VLANs, an administrator first needs to define VLAN IDs on physical switches. Hypervisors have built-in VLAN ID pools. The administrator selects the necessary VLAN IDs from the pools. The next step is to assign a VLAN ID to a physical or virtual switch port or port group. By assigning a VLAN ID to a switch port, the port is included to the VLAN. In this manner, multiple switch ports can be grouped into a VLAN. For example, an administrator may group switch ports 1 and 2 into VLAN 101 (ID) and ports 6 to 12 into VLAN 102 (ID).
The technique to assign VLAN IDs to switch ports is called ‘port-based VLAN’ and is most common in VDC. Other VLAN configuration techniques are MAC-based VLAN, protocol-based VLAN, and policy-based VLAN. Discussion on these configuration techniques are beyond the scope of this course.

## Slide 21: Configuring VLAN (contd.)
Nodes become VLAN members when connected to VLAN ports
Switch forwards frames between switch ports that belong to common VLAN
VLAN traffic is transferred through routers
  During inter VLAN communication
  When VLAN spans different IP networks
VM and storage systems may be members of multiple VLANs
  Requires support of respective operating system
Notes: When a node is connected to a switch port that belongs to a VLAN, the node becomes a member of that VLAN. Frames that are switched between ports of a switch must be within the same VLAN. Each switch makes forwarding decisions by frames and transfers the frames accordingly to other switches and routers. The VLAN traffic passes through a router for inter VLAN communication or when a VLAN spans across multiple IP networks.
Multiple VLANs may also be configured at the VM or storage system, provided guest Operating System or array Operating System supports such configurations. In this scenario, a node can be member of multiple VLANs.

## Slide 22: Virtual Storage Area Network (VSAN)
A VSAN has its own fabric services (name server, zoning), configuration, and set of FC addresses
Benefits of VSAN are similar to VLAN
VSAN tagging enables multiple VSAN traffic to pass through a trunk link
A logical fabric on an FC SAN that enables communication among a group of nodes, regardless of their physical location in the fabric.
VSAN
VSAN header removed at egress point
ISL carries tagged traffic from multiple VSANs
VSAN ID added at ingress point indicating membership
Storage Array
Storage Array
Physical Servers
Fabric Switch
Fabric Switch
Trunk Link
Notes: Virtual SAN or virtual fabric is a logical fabric, created on a physical FC SAN. Virtual SAN enables communication among a group of nodes (physical servers and storage systems) with a common set of requirements, regardless of their physical location in the fabric. VSAN conceptually functions in the same way as VLAN.
Each VSAN acts as an independent fabric and is managed independently. Each VSAN has its own fabric services (name server, zoning), configuration, and set of FC addresses. Fabric-related configurations in one VSAN do not affect the traffic in another VSAN. The events causing traffic disruptions in one VSAN are contained within that VSAN and are not propagated to other VSANs.
Similar to VLAN tagging, VSAN has its tagging mechanism. The purpose of VSAN tagging is similar to VLAN tagging in LAN. The diagram displayed on this slide shows the assignment of VSAN ID and frame-forwarding process.

## Slide 23: Convergence of VLAN and VSAN
FCoE converges VLAN and VSAN: requires a VLAN for each VSAN
VLAN must be unique for each VSAN
VLANs configured for VSANs should not be used for LAN traffic
VSAN
100
200
VLAN
100
200
VLAN | VSAN | FCoE
100 | N/A | NO
200 | N/A | NO
300 | 100 | YES
400 | 200 | YES
Fabric Switch
Physical server with CNA
Ethernet Switch
FCoE Switch
VLAN Trunk
100, 200, 300, 400
VLAN Trunk
100,200
Notes: In Classic Data Center (CDC), FCoE facilitates the convergence of the LAN and FC SAN traffic over a single Ethernet infrastructure. In VDC, the same Ethernet infrastructure allows convergence of VLAN and VSAN traffic. In the converged environment, FC VSAN traffic transported over Ethernet must be assigned a unique VLAN on the FCoE switch. The VSAN to VLAN mapping is performed at the FCoE switch. VSANs cannot share a VLAN, and VLANs that are used for LAN traffic should not be used for VSAN traffic.
In this example, the FCoE switch is configured with four VLANs – VLAN 100, VLAN 200, VLAN 300, and VLAN 400. The Ethernet switch is configured with two VLANs – VLAN 100 and VLAN 200. The fabric switch has VSAN 100 and VSAN 200 configured. To allow data transfer between physical server and fabric through the FCoE switch, VSAN 100 and VSAN 200 must be mapped to VLANs configured on the FCoE switch. Since VLAN 100 and VLAN 200 are already being used for LAN traffic, VSAN 100 should be mapped to VLAN 300 and VSAN 200 to VLAN 400.